## Slide 1
Fire Safety
for Medical Staff Office (MSO), Residents, Medical Students and Nursing Students
Healthcare Environmental Health & Safety
Environmental Health & Safety
Division of Enterprise Risk Management
For questions, contact Healthcare EH&S at 4-6783
November 2024

## Slide 2
Life Safety Information

## Slide 3
No Smoking
The University Smoking Policy states that smoking is not permitted anywhere on the campus, indoors or outdoors.
Off-sites: no smoking is permitted indoors or within 50 feet of entrances.

## Slide 4
Safeguards in the
Event of a Fire
Know the locations of the manual pull stations to activate the fire alarm.
Know the locations of the nearest fire extinguishers in your work area.
Never block fire or smoke doors. These close automatically on fire alarm activation.
For additional information, refer to Admin Policy EC0072, Fire Plan.
F

## Slide 5
What to do if you see fire or “visible” smoke?
Follow the RACE Procedure
        Remove anyone from immediate danger, clear the corridor, and
        close all doors
        Alarm by activating a pull station and calling 911 to report exact location and
        magnitude of the situation (Offsites 911)
        Confine the fire by closing all doors especially the fire room
        Evacuate/Extinguish
NOTE: Refer to evacuation plans posted in unit for fire compartment and fire plan information.

## Slide 6
Manual Pull Station
Manual Pull Stations
Know locations of pull stations
Activation will sound alarm as well as notify University Police (UPD) who notifies the Fire Department.
Always also call 911 Code Red to provide details.
(631-632-3333 from cell phones)
Use this device when you have a visible smoke or fire condition.

## Slide 7
Fire Alarm Strobe
Fire Alarm Signaling Methods
Pre-recorded Voice Messages
Based on area of alarm activation, fire alarm will broadcast a voice recorded message stating Code Red with the area in alarm.
          Example announcement of fire alarm originating on T18 south:
          T18 N&S: Strobes flash, alert tone sounds followed by announcement: Code Red 18 South. Fire alarm strobes will be activated in area of alarm until the code green is called.
          T17 and T19 N&S: Chimes sounds followed by announcement: A Code Red is being investigated on 18 South.
          All Clear is announced on PA to resume normal activities.

## Slide 8
All departments must have a designated Fire Warden and alternate for each work shift.
Fire Wardens who attend training learn to:
  •assist in search for location of fires
  •report this information to emergency personnel
  •guide patients, staff and visitors to safe areas during an alarm or actual fire.
Contact your supervisor to volunteer as a Fire Warden.
All medical staff will react to any fire or fire alarm under the direction of the Fire Warden of Charge Nurse.

## Slide 9
Fire Extinguishers
PASS
Pull the Pin and stand back 6-10 feet.
Aim nozzle at the base of the fire.
Squeeze the handle to depress the button and release the agent.
Sweep nozzle from side to side until completely out.

## Slide 10
Oxygen Safety
Never leave a gas cylinder unsecured!
Secured in a rack or holder
Segregated and Labeled-Empty or Full/Partially Full
Limit to no more than 12 total in a storage area
Know where the zone valve shut offs are for O2 in the room.
In an emergency, Anyone can shut valve after determining that patients served by that zone will not be adversely affected by oxygen shutoff.
EC0028, Compressed Medical Gases

## Slide 11
Basic Fire Safety Rules
Don’t block fire extinguishers, fire doors, exits, medical gas shutoff valves and fire alarm devices.
Space heaters and toaster ovens are not allowed.
Extension cords are not allowed to be used for more than 24 hours.
18” clearance is required between stored items and the ceiling for overhead sprinklers to work.

## Slide 12
Basic Fire Safety Rules
Multi-outlet power strips (including relocatable power taps or RPTs) require UL label for commercial use. They cannot be damaged, overloaded, or linked together into a chain formation (no daisy chains!).
No candles or other types of open flame are allowed, unless approved for religious purposes or authorized catered functions.
Chafing dish use with open flame or Sterno chafing fuel is only approved for use by Hospital Food Service.